|  | PRESS RELEASE |
| --- | --- |

4 fuel samples taken in August failed

(Prague, September 27, 2022) The Czech Trade Inspection Authority found that the quality of fuels was also inspected in August 2022. A total of 244 fuel samples were taken at filling stations in the Czech Republic and 4 fuel samples failed to meet the quality requirements.

In August 2022, the Czech Trade Inspection Authority continued to monitor the quality of fuels on the territory of the Czech Republic. It took a total of 244 fuel samples and 4 samples failed to meet the quality requirements - 2 samples of automotive petrol and 2 samples of diesel.

Compared to July, a deterioration was recorded in August, as only 1 diesel fuel sample failed in July.

Samples of FAME, blended diesel, B10 diesel, high FAME diesel, paraffinic diesel, bio-CNG, LNG, bio-LNG and E85 ethanol were not sampled in the month of August 2022 due to fuel market developments.

| Taken fuel samples according to types – August 2022 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Fuel type | Fuel type | Fuel type | Fuel type | Fuel type |
| Automotive petrol | 98 | 40,16 | 2 | 2,0 |
| Diesel | 111 | 45,49 | 2 | 1,8 |
| FAME | 0 | 0,0 | 0 | 0,0 |
| Diesel fuel blend | 0 | 0,0 | 0 | 0,0 |
| B10 diesel | 0 | 0,0 | 0 | 0,0 |
| High FAME diesel | 0 | 0,0 | 0 | 0,0 |
| Paraffini diesel | 0 | 0,0 | 0 | 0,0 |
| LPG | 30 | 12,30 | 0 | 0,0 |
| CNG, bio-CNG | 5 | 2,05 | 0 | 0,0 |
| LNG, bio-LNG | 0 | 0,0 | 0 | 0,0 |
| Ethanol E85 | 0 | 0,0 | 0 | 0,0 |
| Total | 244 | 100,0 | 4 | 1,6 |

Automotive petrol

In August 2022, the Czech Trade Inspection Authority collected and inspected a total of 98 samples of motor gasoline. Of these samples, 2 samples did not meet the quality requirements of the relevant technical standard. The samples inspected did not comply with the quality parameter 'vapour pressure', where the measured value of this quality parameter was in one case 71,3 kPab and in the other case 67,3 kPa (the maximum value is 60,9 kPa when the measurement uncertainty is taken into account). The other samples of automotive petrol inspected and analysed fulfilled the quality parameters set out in the technical standard ČSN EN 228+A1/Z1/O2 - Motor fuels - Unleaded automotive petrol - Technical requirements and test methods in relation to the requirements of Decree 516/2020 Coll., on requirements for fuels and implementation of certain other provisions of the Fuel Act.

Diesel

In August 2022, the Czech Trade Inspection Authority collected and inspected a total of 111 diesel fuel samples. Out of this number of samples taken and inspected, 2 samples did not meet the quality requirements of the applicable technical standard. The inspected samples failed to comply with the quality parameter 'oxidation stability', where the measured value of this quality parameter was 86 g/m3 in one case and 116 g/m3 in the other case (the maximum value including the measurement uncertainty is 33 g/m3). In the case of the second unsatisfactory finding for the parameter 'oxidative stability', this was a verification analysis at the same pumping station. The other samples of diesel fuel inspected and analysed met the quality parameters set out in the technical standard ČSN EN 590+A1 - Motor fuels - Diesel fuels - Technical requirements and test methods in relation to the requirements of Decree 516/2020 Coll., on requirements for fuels and implementation of certain other provisions of the Fuel Act.

Organic fuels in fuels

During the monitored period, the content of fatty acid methyl esters was inspected in 111 samples of diesel. The ethanol content of automotive petrol was inspected in 98 samples. Laboratory analyses did not indicate that the permissible upper limit of the biofuel content was exceeded in samples of the monitored motor fuels.

Imposed measures

In August 2022, the Czech Trade Inspection Authority banned the sale of fuels that did not meet the quality and composition requirements of the implementing legislation, special legislation and Czech technical standards. The measure was imposed on 15,042.40 litres of fuel with the value amounting to CZK 631,188.96.

Výsledky kontroly jakosti pohonných hmot podle inspektorátů:

Legend: COLL = collected, N = noncompliant

Attachments:

č. 1 - Monitoring of fuel quality – August 2022

č. 2 – Monitoring of fuel quality – January to August 2022