	[image: image1.png]CESKA
o o:chooni
INSPEKCE




	PRESS RELEASE


One diesel sample failed in January

(Prague, 6 March 2023) The Czech Trade Inspection Authority continued to monitor the quality of fuels in 2023. In January, it inspected a total of 238 fuel samples and one diesel sample failed quality requirements.

In January 2023, the Czech Trade Inspection Authority took 238 fuel samples at petrol stations all over the Czech Republic and 1 diesel fuel sample failed the quality requirements. 

In January 2023, as in December 2022, 1 diesel fuel sample failed.  

Samples of FAME, diesel fuel blend, diesel fuel B10, diesel fuel with high FAME content, paraffinic diesel fuel, bio-CNG, LNG, bio-LNG and ethanol E85 were not taken in January 2023 due to the development of the fuel market.

	Taken fuel samples according to types – January 2022

	Fuel type
	Fuel type
	Fuel type
	Fuel type
	Fuel type

	Automotive petrol
	102
	42,86
	0
	0,0 

	Diesel
	109
	45,80
	1
	0,9

	FAME
	0
	0,0
	0
	0,0 

	Diesel fuel blend
	0
	0,0
	0
	0,0 

	B10 diesel
	0
	0,0
	0
	0,0 

	High FAME diesel
	0
	0,0
	0
	0,0 

	Paraffini diesel
	0
	0,0
	0
	0,0 

	LPG
	24
	10,08
	0
	0,0 

	CNG, bio-CNG
	3
	1,26
	0
	0,0 

	LNG, bio-LNG
	0
	0,0
	0
	0,0 

	Ethanol E85
	0
	0,0
	0
	0,0 

	Total
	238
	100,0
	1
	0,4


Diesel
In January 2023, the Czech Trade Inspection Authority collected and inspected a total of 109 diesel fuel samples. Of these samples taken and inspected, 1 sample did not meet the quality requirements of the applicable technical standard. The sample of diesel fuel inspected failed the quality parameter 'flash point', where the measured value of this quality parameter was 40.5 °C (the minimum value  is 53.0 °C when measurement uncertainty in included). The other samples of diesel fuel inspected and analysed met the quality parameters set out in the technical standard ČSN EN 590 - Motor fuels - Diesel - Technical requirements and Test Methods in relation to the requirements of Decree No 516/2020 Coll., on requirements for fuels and implementation of certain other provisions of the Fuel Act.

Organic fuels in fuels 

During the monitored period, the content of fatty acid methyl esters was inspected in 109 samples of diesel. The ethanol content of automotive petrol was inspected in 102 samples. Laboratory analyses did not indicate that the permissible upper limit of the biofuel content was exceeded in samples of the monitored motor fuels.

Inspection results by individual inspectorates:
	Inspektorate
	Petrol
	Diesel
	LPG
	CNG
	E85
	Total

	
	COLL
	N
	COLL
	N
	COLL
	N
	
	COLL
	N
	COLL
	N
	COLL

	Středočeský 

and Prague
	11
	0
	14
	0
	0
	0
	0
	0
	0
	0
	25
	0

	Jihočeský 

and Vysočina
	17
	0
	16
	0
	0
	0
	0
	0
	0
	0
	33
	0

	Plzeňský 

and Karlovarský
	17
	0
	16
	1
	6
	0
	1
	0
	0
	0
	40
	1

	Ústecký and Liberecký
	17
	0
	16
	0
	6
	0
	1
	0
	0
	0
	40
	0

	Královéhradecký

and Pardubický
	17
	0
	16
	0
	0
	0
	0
	0
	0
	0
	33
	0

	Jihomoravský 

and Zlínský
	11
	0
	15
	0
	6
	0
	0
	0
	0
	0
	32
	0

	Olomoucký and Moravskoslezský
	12
	0
	16
	0
	6
	0
	1
	0
	0
	0
	35
	0

	Total
	102
	0
	109
	1
	24
	0
	3
	0
	0
	0
	238
	1


Legend: COLL = collected, N = noncompliant

Attachments:

1. Monitoring of fuel quality – January 2023

Contact:       Spokesperson of the CTIA
                                                            Phone:
+420 296 366 233  
                       Mgr. Jiří Fröhlich
                                                            Mobile: 
+420 602 105 376

                                                            E-mail:
mluvci@coi.cz

