	[image: image1.png]CESKA
o o:chooni
INSPEKCE




	PRESS RELEASE


3 fuel samples taken in July failed

(Prague, 9 October 2023) The Czech Trade Inspection Authority monitored the quality of fuels in July 2023. A total of 184 samples were taken and 3 samples of automotive petrol failed to meet the specified quality requirements.

The Czech Trade Inspection Authority continued to monitor the quality of fuels in July 2023. It took 184 samples of fuels at filling stations in the Czech Republic, of which 3 samples of automotive petrol did not meet the quality requirements. The Czech Trade Inspection Authority saw a deterioration in July compared to June, as all fuel samples taken in June were compliant. 

Samples of FAME, diesel fuel blend, diesel fuel B10, diesel fuel high in FAME, paraffinic diesel fuel, bio-CNG, LNG, bio-LNG and ethanol E85 were not taken in July 2023 due to fuel market developments.
	Taken fuel samples according to types – July 2023

	Fuel type
	Taken samples
	Ratio
	Noncompliant samples
	Ratio of fuel type

	Automotive petrol
	74
	40.2
	3
	4.1 

	Diesel
	89
	48.4
	0
	0.0 

	FAME
	0
	0.0
	0
	0.0 

	Diesel fuel blend
	0
	0.0
	0
	0.0 

	B10 diesel
	0
	0.0
	0
	0.0 

	High FAME diesel
	0
	0.0
	0
	0.0 

	Paraffinic diesel
	0
	0.0
	0
	0.0 

	LPG
	18
	9.8
	0
	0.0 

	CNG 
	3
	1.6
	0
	0.0 

	bio-CNG
	0
	0
	0
	0.0

	LNG
	0
	0.0
	0
	0.0 

	bio-LNG
	0
	0.0
	0
	0.0 

	Ethanol E85
	0
	0.0
	0
	0.0 

	Total
	184
	100.0
	3
	1.6 


Automotive petrol

A total of 74 samples of automotive petrol were collected and inspected by the CTIA in July 2023. Out of this number of samples taken, 3 samples did not meet the quality requirements of the applicable technical standard. The samples inspected did not comply with the quality parameter 'vapour pressure', where the measured value of this quality parameter was 63.9 kPa in one case, and 63.2 kPa in the other case (the maximum value including the measurement uncertainty is 60.9 kPa). A third infringement was detected for the quality parameter 'ethanol', where the measured value of this quality parameter was 5.74 % v/v (maximum value including measurement uncertainty is 5,21 % v/v). The other samples of petrol inspected and analysed met the quality parameters laid down in the technical standard EN 228+A1/Z1/O2 - Motor fuels - Unleaded petrol - Technical requirements and test methods.

Biofuels in fuels 

In the period under review, the content of fatty acid methyl esters was inspected in 89 samples of diesel fuel. The ethanol content of automotive petrol was inspected in 74 samples. Laboratory analyses showed that the permissible upper limit for ethanol content was exceeded in one sample of motor gasoline.
Fuels inspection results by individual inspectorates:

	Inspectorate
	Petrol
	Diesel
	LPG
	CNG
	E85
	Total

	
	OD
	N
	OD
	N
	OD
	N
	OD
	N
	OD
	N
	OD
	N

	Central Bohemian Region and City of Prague
	11
	0
	14
	0
	0
	0
	0
	0
	0
	0
	25
	0

	South Bohemian and Vysočina Regions
	10
	0
	11
	0
	6
	0
	1
	0
	0
	0
	28
	0

	Pilsen and Karlovy Vary Regions
	10
	1
	11
	0
	0
	0
	0
	0
	0
	0
	21
	1

	Ústí a Liberec Regions
	10
	0
	11
	0
	0
	0
	0
	0
	0
	0
	21
	0

	Hradec Králové and Pardubice Regions
	10
	0
	11
	0
	6
	0
	1
	0
	0
	0
	28
	0

	South Moravian and Zlín Regions
	11
	0
	15
	0
	6
	0
	1
	0
	0
	0
	33
	0

	Olomouc and Moravian-Silesian Regional
	12
	2
	16
	0
	0
	0
	0
	0
	0
	0
	28
	2

	Total
	74
	3
	89
	0
	18
	0
	3
	0
	0
	0
	184
	3


Legend: COLL = collected, N = noncompliant
Přílohy: 
1. Monitoring a sledování jakosti pohonných hmot červenec 2023

2. Monitoring a sledování jakosti pohonných hmot leden–červenec 2023 
Contact:       Spokesperson of the CTIA
                                                            Phone:
+420 296 366 233  
                      Mgr. František Kotrba
                                                            Mobile: 
+420 602 105 376

                                                            E-mail:
mluvci@coi.cz

