|  | PRESS RELEASE |
| --- | --- |

Dangerous Christmas chain with lighting effects

(Prague, 2 August 2023) The Czech Trade Inspection Authority has found a Christmas light chain with lighting effects in the domestic market that may pose a safety risk to consumers.

The Czech Trade Inspection Authority has found that there is electrical equipment in the Czech market that may pose a risk to consumers. It is a 200LED warm white LED Christmas light chain with non-replaceable light sources, equipped with an electronic unit for creating light effects and a two-pole fork in a paper packaging. The product is marked with: CE marking, EK-04, EMC, LVD, graphic mark of protection class II, 8PROGRAMS, MINI CONTROLLER, sticker with CE marking on the moving lead, ZH251-200WW, 12.5M. CE marking, information in 2 languages (no information in Czech), ZH251-200WW, 12.5M, 230V-3A.

The product was found to be a high safety risk as the power supply lead is not securely anchored to the electronic lighting effects unit and is not sufficiently secured against pulling out. If the lead is tampered with, the lead may be pulled out of the unit, exposing live parts of the product. The user touches a live part of the product that is energized, and serious injury or death to the user by electric shock will result.

The Czech Trade Inspection Authority imposed a protective measure on the seller (Section 50(3) of Act No. 90/2016 Coll., on Conformity Assessment of Selected Products when Made Available in the Market), which consisted of the immediate withdrawal of products from the market, including products already placed on the market. The product was reported to the contact point at the Ministry of Industry and Trade and information about it was published in the Safety Gate system.

Product name:  	                                     	             Světelný řetěz LED teplé bílé 200LED

Model type/ number:			             model ZH251-200WW

EAN:					             not displayed

Identification of manufacturer:                              YIWU LIMENG ART AND CRAFT CO.LTD., China

Identification of Importer:		             not displayed

Distributor:	              NOVEX PLUS, s.r.o., Husova 286, 73961 Třinec

Country of origin:	China