|  | PRESS RELEASE |
| --- | --- |

Results of fuel inspections in the first half of this year

(Comparison of fuel quality for the first half of 2023 and 2024)

(Prague, 7 August 2024) The Czech Trade Inspection Authority regularly evaluates and compares the quality of fuels In the Czech market. When comparing the results of fuel quality inspections for the first half of this year with the quality for the comparable period last year, a deterioration can be noted in the case of automotive petrol and LPG, while an improvement was noted in the case of diesel fuels.

The Czech Trade Inspection Authority assessed the comparison of the quality of fuels for the first half of 2023 and 2024. The comparison of the results of inspections this year and last year /see table below/ shows that the quality of fuels in the first half of 2024 has generally deteriorated when compared with the first half of 2023, from 0.4% to 1.1% of non-compliant samples. In the first half of last year, a total of 5 of 1,313 samples taken were assessed as non-compliant, this year a total of 15 of 1 359 samples taken failed the quality requirements. A deterioration in the quality of automotive petrol samples taken and inspected was noted, from 0.0% to 1.5%. In 7 of 8 non-compliant samples, the non-compliance was due to the switch to BA 95 petrol with a maximum ethanol content of 10% - labelled E10, where dispensers and dispensing guns at filling stations were incorrectly labelled E5 (maximum ethanol content of 5%). There was a deterioration from 0.0% to 1.8% of non-compliant LPG samples where in 1 of 3 non-compliant samples, this was a verification analysis after a previous non-compliance had been detected. An improvement was noted for diesel fuel (from 0,8 % to 0,6 %). CNG samples taken and tested have remained at the same level (0.0%).

Comparison of fuel quality for the first half of 2023 and 2024

Biofuels in fuels

During the first half of this year, the content of fatty acid methyl esters was inspected in 632 diesel fuel samples of all 633 samples taken (1 sample was a repeat sample at the same filling station, where the content of fatty acid methyl esters was not inspected). The ethanol content of automotive petrol was tested in 542 samples of all 543 samples taken (1 sample was a repeat sample at the same filling station and was not tested for ethanol content). Laboratory analyses showed that the permissible upper limit for ethanol content was exceeded in 7 samples of automotive petrol.

Measures

Pursuant to the provisions of Section 7(1)(a) of Act No 64/1986 Coll. on the Czech Trade Inspection Authority, as amended, in 4 cases of the first half of this year, the Czech Trade Inspection Authority imposed measures consisting of a ban on the sale of fuels which did not meet the requirements for quality and composition laid down by the implementing legislation, special legislation and Czech technical standards.

The measures were imposed on the total of 27,797.00 litres of fuel with a total value of CZK 1,018,833.70.

These included:

- in February, 11,112.00 l of diesel fuel with the value amounting to CZK 405,588.00

- in the month of February 1,141.00 l of LPG with the value amounting to CZK 17,685.50

- in the month of March, 10,862.00 l of petrol with the value amounting to CZK 404,066.40

- in the month of April 4,682.00 l of diesel fuel with the value amounting to CZK 191,493.80