	[image: image1.png]CESKA
o o:chooni
INSPEKCE




	PRESS RELEASE


In August, 5 fuel samples failed

(Prague, 11 October 2023) The Czech Trade Inspection Authority monitored the quality of fuels in August 2023. A total of 196 samples of fuels were taken and inspected and 5 samples failed to meet the specified quality requirements.
The Czech Trade Inspection Authority continued to monitor the quality of fuels in August 2023. It took 196 fuel samples at petrol stations in the Czech Republic, of which a total of 5 samples failed to meet the specified quality requirements. These were 2 samples of petrol, 1 sample of diesel and 2 samples of compressed natural gas (CNG). A deterioration from 1.6% to 2.6% in the number of non-compliant samples was recorded in August 2023 compared to July 2023.

The Czech Trade Inspection Authority imposed in August 2023 in 2 cases a ban on the sale of fuels which did not meet the quality and composition requirements set out in the implementing legislation, special legislation and Czech technical standards. The measure was issued for 4 432.00 l of fuel worth CZK 175 064 (petrol) and the sale of CNG was prohibited.

	Collected fuel samples by types – August 2023

	Fuel type
	Fuel type
	Fuel type
	Fuel type
	Fuel type

	automotive petrol
	99
	50.5
	2
	2.0 

	diesel fuel
	75
	38.3
	1
	1.3 

	FAME
	0
	0.0
	0
	0.0 

	diesel fuel blend
	0
	0.0
	0
	0.0 

	diesel fuel B10
	0
	0.0
	0
	0.0 

	high FAME diesel fuel
	0
	0.0
	0
	0.0 

	paraffinic diesel fuel
	0
	0.0
	0
	0.0 

	LPG
	18
	9.2
	0
	0.0 

	CNG 
	4
	2.0
	2
	50.0 

	bio-CNG
	0
	0.0
	0
	0.0

	LNG
	0
	0.0
	0
	0.0 

	bio-LNG
	0
	0.0
	0
	0.0 

	Ethanol E85
	0
	0.0
	0
	0.0 

	Total
	196
	100.00
	5
	2.6 


Automotive petrol
The Czech Trade Inspection Authority took and inspected a total of 99 samples of automotive gasoline in August 2023. Of these samples, 2 samples did not meet the quality requirements of the relevant technical standard. The samples inspected did not comply with the quality parameter 'ethanol', where the measured value of this quality parameter was 5.51 % v/v (the maximum value including measurement uncertainty is 5.21 % v/v), and with the quality parameter 'vapour pressure', where the measured value of this quality parameter was 63.5 kPa (the maximum value including measurement uncertainty is 60.9 kPa). The other samples of automotive gasoline inspected and analysed met the quality parameters set out in the technical standard ČSN EN 228+A1/Z1/O2:2020 - Motor fuels - Unleaded automotive petrol - Technical requirements and test methods in relation to the requirements of Decree No 516/2020 Coll., on requirements for fuels and implementation of certain other provisions of the Fuel Act.

Diesel fuels
In the month of August 2023, the Czech Trade Inspection Authority collected and inspected a total of 75 diesel fuel samples. Of this number of samples taken and inspected, 1 sample did not meet the quality requirements of the relevant technical standard. The inspected diesel fuel sample failed the quality parameter 'flash point', where the measured value of this quality parameter was 45.0°C (the minimum value when including the measurement uncertainty is 53.0°C). The other samples of diesel fuel inspected and analysed met the quality parameters set out in the technical standard ČSN EN 590/O1:2023 - Motor fuels - Diesel fuels - Technical requirements and test methods in relation to the requirements of Decree No 516/2020 Coll., on requirements for fuels and implementation of certain other provisions of the Fuel Act.

CNG (compressed natural gas)
A total of 4 CNG samples were collected and inspected by the Czech Trade Inspection Authority in August 2023. Out of this number of samples taken, 2 samples did not meet the quality requirements of the relevant technical standard. The inspected samples did not comply with the quality parameter 'water', where the measured value of this quality parameter was 125.0 mg/kg in one case and 87.0 mg/kg in the other case (the maximum value when including the measurement uncertainty is 23.0 mg/kg), where the sampling was repeated at the same filling station. The other samples of CNG inspected and analysed met the quality parameters set out in the technical standard ČSN 65 6517/Z1:2023 - Motor fuels - Compressed natural gas - Technical requirements and test methods in relation to the requirements of Decree No 516/2020 Coll., on requirements for fuels and implementation of certain other provisions of the Fuel Act.

Biofuels in fuels
During the period under review, the fatty acid methyl ester content of 75 samples was inspected diesel fuel. The ethanol content of motor gasoline was inspected in 99 samples. Laboratory analyses revealed that the permissible upper limit for ethanol content was exceeded in one sample of motor gasoline.

Results of fuel quality control by inspectorate:
	Inspectorate
	Petrol
	Diesel
	LPG
	CNG
	E85
	Total

	
	COLL
	N
	COLL
	N
	COLL
	N
	COLL
	N
	COLL
	N
	COLL
	N

	Central Bohemian Region and City of Prague
	12
	0
	10
	0
	0
	0
	0
	0
	0
	0
	22
	0

	South Bohemian and Vysočina Regions
	16
	0
	12
	0
	6
	0
	2
	2
	0
	0
	36
	2

	Pilsen and Karlovy Vary Regions
	16
	1
	12
	0
	6
	0
	1
	0
	0
	0
	35
	1

	Ústí a Liberec Regions
	16
	0
	12
	0
	6
	0
	1
	0
	0
	0
	35
	0

	Hradec Králové and Pardubice Regions
	16
	0
	12
	0
	0
	0
	0
	0
	0
	0
	28
	0

	South Moravian and Zlín Regions
	12
	1
	9
	0
	0
	0
	0
	0
	0
	0
	21
	1

	Olomouc and Moravian-Silesian Regional
	11
	0
	8
	1
	0
	0
	0
	0
	0
	0
	19
	1

	Total
	99
	2
	75
	1
	18
	0
	4
	2
	0
	0
	196
	5


Legend: COLL = collected, N = noncompliant
Attachments:
1. Monitoring of fuel quality August 2023
2. Monitoring of fuel quality January-August 2023
Contact:       Spokesperson of the CTIA
                                                            Phone:
+420 296 366 233  
                      Mgr. František Kotrba
                                                            Mobile: 
+420 602 105 376

                                                            E-mail:
mluvci@coi.cz

